PROCEDURE: 	Laparoscopic Cholecystectomy

SURGEON:

| ITEM | NO. REQUIRED | COST | AVAILABLE (please tick) | USED (please tick) |
| --- | --- | --- | --- | --- |
| TRAYS/ DRAPES |  |  |  |  |
| Storz Laparoscopic Cholecystectomy Tray | 1 |  |  |  |
| Minor Laparotomy | 1 |  |  |  |
| Hopkins Telecoscope 10mm 30° | 1 |  |  |  |
| General Pack | 1 |  |  |  |
| Bowl Set | 1 |  |  |  |
| Bowl Liner | 1 |  |  |  |
| Table covers | 2 |  |  |  |
| Quiver (long) | 1 |  |  |  |
| SINGLE ITEMS |  |  |  |  |
| Haemolock Clip Applicator (purple) |  |  | 1 |  |
| Horizon Clip Applicator (orange) |  |  | 1 |  |
| Lap Biopsy Forceps No.925 |  |  | 1 |  |
| Atraumatic Grasper No.71 |  |  | 1 |  |
| Lap Needle Holder No.13/ 972/ 975 |  |  | 1 |  |
| SWABS |  |  |  |  |
| 6x1 |  |  | 1 |  |
| 3x4 | 2 |  |  |  |
| BLADES |  |  |  |  |
| 11 | 1 |  |  |  |
| SUCTION |  |  |  |  |
| Lap Suction/Irrigation set | 1 |  |  |  |
| SUTURES/ TIES |  |  |  |  |
| 1 Vicryl J9335G | 1 |  |  |  |
| 3/0 Monocryl W3213 | 1 |  |  |  |
| DRAINS |  |  |  |  |
| Abdovac 14fg |  |  | 1 |  |
| Bile bag |  |  | 1 |  |
| DRESSINGS |  |  |  |  |
| Steristrips | 1 |  |  |  |
| Tegaderm (small) | 4 |  |  |  |
| MISCELLANEOUS |  |  |  |  |
| Light Handle Covers | 3 |  |  |  |
| Discardapad | 1 |  |  |  |
| Camera drape | 1 |  |  |  |
| Insufflation filter | 1 |  |  |  |
| Fred/ sponge | 1 |  |  |  |
| Syringe 20ml | 1 |  |  |  |
| Green hypo | 1 |  |  |  |
| Retrieval bag | 1 |  |  |  |
| Haemolock Clip reload (purple) |  |  | 1 |  |
| Horizon Clip reload (green) | 1 |  |  |  |
| Horizon Clip reload (orange) |  |  | 1 |  |
| Trucut Biopsy Needle |  |  | 1 |  |
| Disposable Hook Electrode |  |  | 1 |  |
| Disposable Lap Scissors |  |  | 1 |  |
| Kii Balloon Blunt Tip system (Hasson trocar & Sleeve) 12mm C0R47 | 1 |  |  |  |
| Kii Fios First Entry (bladeless balloon trocar & sleeve) 12mm CFF73 | 1 |  |  |  |
| Kii Shielded Bladed Dual Pack (balloon trocar & sleeve) 5mm CFB12 | 1 |  |  |  |
| SOLUTIONS |  |  |  |  |
| Chlorhexidine 2% | 50ml |  |  |  |
| Levobupivacaine 5mg/ml | 20ml |  |  |  |
| EQUIPMENT/ ACCESSORIES |  |  |  |  |
| Pillow | 1 |  |  |  |
| Heel pads | 2 |  |  |  |
| Flowtron boots | 1 |  |  |  |
| Storz Lap Stack |  |  |  |  |
| ON-TABLE CHOLANGIOGRAM – coordinate with Radiology |  |  |  |  |
| Angiocath fr.12 | 1 |  |  |  |
| Feeding tube 4fg | 1 |  |  |  |
| Kwill | 1 |  |  |  |
| Syringe 20ml | 1 |  |  |  |
| Syringe 20ml (purple) | 2 |  |  |  |
| Saline 100ml bag | 1 |  |  |  |
| Urografin 20ml | 1 |  |  |  |
| II Cover | 1 |  |  |  |
| COMMON BILE DUCT EXPLORATION – please use Upper GI Stack |  |  |  |  |
| Choledocoscope 3mm V32 | 1 |  |  |  |
| 28x28 overlay | 1 |  |  |  |
| Saline 1L bag + pressure bag | 1/1 |  |  |  |
| Giving set | 1 |  |  |  |
| Camera drape | 1 |  |  |  |
| Ureteral Access Sheath 11f – urology omnicell | 1 |  |  |  |
| Retrieval Basket (Nitinol) | 1 |  |  |  |
| CONVERT TO OPEN |  |  |  |  |
| Cholecystectomy Conversion Tray | 1 |  |  |  |
| Omnitract Tray (new) – 2 trays | 1 |  |  |  |
| Gilles No.3 | 1 |  |  |  |
| Lahey No.40 | 1 |  |  |  |
| Suction tubing | 1 |  |  |  |
| Yankauer tip (fine) | 1 |  |  |  |
| 2/0 Vicryl ties V1216E | 1 |  |  |  |
| 2/0 Vicryl J246H | 1 |  |  |  |
| Finger switch/ scratch pad | 1/1 |  |  |  |

Patient Position:

Supine

Notes:

- Make sure table is reversed (patient’s head is on the foot end of the table), ready for cholangiogram

- Always set-up suction/irrigation at the beginning