

Laying-up Checklist 

PROCEDURE: 	Laparoscopic Cholecystectomy
SURGEON: 		
	ITEM
	NO.
REQUIRED
	COST
	AVAILABLE
(please tick)
	USED
(please tick)

	TRAYS/ DRAPES

	Storz Laparoscopic Cholecystectomy Tray 
	1
	
	
	

	Minor Laparotomy
	1
	
	
	

	Hopkins Telecoscope 10mm 30° 
	1
	
	
	

	 
	
	
	
	

	General Pack 
	1
	
	
	

	Bowl Set 
	1
	
	
	

	Bowl Liner
	1
	
	
	

	Table covers 
	2
	
	
	

	Quiver (long)
	1
	
	
	

	
	
	
	
	

	SINGLE ITEMS

	Haemolock Clip Applicator (purple)
	
	
	1
	

	Horizon Clip Applicator (orange)
	
	
	1
	

	Lap Biopsy Forceps No.925
	
	
	1
	

	Atraumatic Grasper No.71
	
	
	1
	

	Lap Needle Holder No.13/ 972/ 975
	
	
	1
	

	
	
	
	
	

	SWABS

	6x1
	
	
	1
	

	3x4  
	2
	
	
	

	 
	
	
	
	

	BLADES

	11
	1
	
	
	

	 
	
	
	
	

	SUCTION

	Lap Suction/Irrigation set 
	1
	
	
	

	
	
	
	
	

	SUTURES/ TIES

	1 Vicryl J9335G
	1
	
	
	

	3/0 Monocryl W3213
	1
	
	
	

	
	
	
	
	

	DRAINS

	Abdovac 14fg    
	
	
	1
	

	Bile bag
	
	
	1
	

	
	
	
	
	

	DRESSINGS

	Steristrips 
	1
	
	
	

	Tegaderm (small)
	4
	
	
	

	 
	
	
	
	

	MISCELLANEOUS

	

	Light Handle Covers  
	3
	
	
	

	Discardapad  
	1
	
	
	

	Camera drape
	1
	
	
	

	Insufflation filter
	1
	
	
	

	Fred/ sponge
	1
	
	
	

	Syringe 20ml
	1
	
	
	

	Green hypo
	1
	
	
	

	Retrieval bag 
	1
	
	
	

	Haemolock Clip reload (purple)
	
	
	1
	

	Horizon Clip reload (green)
	1
	
	
	

	Horizon Clip reload (orange)
	
	
	1
	

	Trucut Biopsy Needle
	
	
	1
	

	Disposable Hook Electrode
	
	
	1
	

	Disposable Lap Scissors
	
	
	1
	

	Kii Balloon Blunt Tip system (Hasson trocar & Sleeve) 12mm C0R47 
	1
	
	
	

	Kii Fios First Entry (bladeless balloon trocar & sleeve) 12mm CFF73
	1
	
	
	

	Kii Shielded Bladed Dual Pack (balloon trocar & sleeve) 5mm CFB12
	1
	
	
	

	 
	
	
	
	

	SOLUTIONS

	Chlorhexidine 2%
	50ml
	
	
	

	Levobupivacaine 5mg/ml
	20ml
	
	
	

	
	
	
	
	

	EQUIPMENT/ ACCESSORIES

	Pillow 
	1
	
	
	

	Heel pads 
	2
	
	
	

	Flowtron boots 
	1
	
	
	

	
	
	
	
	

	Storz Lap Stack
	
	
	
	

	  
	
	
	
	

	ON-TABLE CHOLANGIOGRAM – coordinate with Radiology

	Angiocath fr.12
	1
	
	
	

	Feeding tube 4fg
	1
	
	
	

	Kwill
	1
	
	
	

	Syringe 20ml
	1
	
	
	

	Syringe 20ml (purple)
	2
	
	
	

	Saline 100ml bag
	1
	
	
	

	Urografin 20ml
	1
	
	
	

	II Cover
	1
	
	
	

	
	
	
	
	

	COMMON BILE DUCT EXPLORATION – please use Upper GI Stack

	Choledocoscope 3mm V32
	1
	
	
	

	28x28 overlay
	1
	
	
	

	Saline 1L bag + pressure bag
	1/1
	
	
	

	Giving set
	1
	
	
	

	Camera drape
	1
	
	
	

	Ureteral Access Sheath 11f – urology omnicell
	1
	
	
	

	Retrieval Basket (Nitinol) 
	1
	
	
	

	
	
	
	
	

	CONVERT TO OPEN

	Cholecystectomy Conversion Tray
	1
	
	
	

	Omnitract Tray (new) – 2 trays  
	1
	
	
	

	Gilles No.3
	1
	
	
	

	Lahey No.40
	1
	
	
	

	Suction tubing  
	1
	
	
	

	Yankauer tip (fine)
	1
	
	
	

	2/0 Vicryl ties V1216E
	1
	
	
	

	2/0 Vicryl J246H 
	1
	
	
	

	Finger switch/ scratch pad  
	1/1
	
	
	

	
	
	
	
	



Patient Position:  
Supine
 
 
 
Notes: 
 
· Make sure table is reversed (patient’s head is on the foot end of the table), ready for cholangiogram
· Always set-up suction/irrigation at the beginning
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