Cais Rhyddid Gwybodaeth / Freedom of Information request
Ein Cyf / Our Ref: 26-C-019
Dyddiad / Date: 01 May 2026

Thank you for your request for information. Please find below our response.

Request and response:

Please provide the following information for the most recent five financial years available, or the maximum period available if five years is not readily retrievable.

- Total number of reported MRI-related adverse events or safety incidents within your Health Board.
In the period 1st April 2020-31st March 2025 we have 20 incidents related to MRI recorded on ActionPoint.

- Where recorded, a breakdown of incidents by category. If available, examples may include:

  - Patient burns during MRI scanning 
None

  - Projectile incidents involving ferromagnetic objects 
0

  - Non-MRI compatible equipment taken into the MRI scanner room (Zone IV)
<5*

  - Damage to the MRI scanner or associated equipment 
0

  - MRI quench events 
0

  - Adverse events related to implants or devices 
<5*

  - Patient injury or near-miss incidents relating to MRI safetyone 
<5*

If incidents are recorded using different or broader internal categories, please provide those categories instead
We use the codes of national Datix taxonomy

- Where recorded, please indicate:

  - The number of incidents per year 
2020 – <5*
2021 – <5*
2022 – <5*
2023 – 5
2024 - <5*

  - Whether the incident was classified as harm, no harm, or near miss

<5* - harm
9 - no harm
<5* - near miss
6 - low harm
<5* - unlikely to be MRI related.

- If available within existing records, please indicate whether incidents involved:

  - Ferromagnetic equipment or objects entering the MRI scanner room <5* incident

  - Non-MRI compatible equipment brought into the MRI scanner room as above

  - Damage to the MRI scanner 
No damage to the scanner.

- Operational impact, where recorded:

  - Estimated scanner downtime resulting from incidents (hours or days, if recorded)
None recorded

  - Whether the scanner required service intervention or repair
None

  - Number of MRI scans cancelled due to incidents
None, only near miss patients who were stopped having their scans due to non compatible implants.

  - Number of patients rescheduled due to incidents
None

- Financial impact, where recorded:

  - Any estimated cost of repair, servicing, or replacement
None

  - Any estimated operational cost associated with scanner downtime
None

- If recorded, please indicate the incident reporting system used (for example Datix or other internal incident reporting systems).
Datix and ActionPoint

* Where fewer than 5 has been indicated we are unable to provide you with the exact number of incidents as due to the low numbers, there is a potential risk of identifying individuals if this was disclosed.  We are therefore withholding this detail under Section 40(2) of the Freedom of Information Act 2000.  This information is protected by the General Data Protection Regulation (GDPR) and Data Protection Act 2018 and its disclosure would be contrary to the data protection principles and constitute as unfair and unlawful processing in regard to Articles 5, 6, and 9 of GDPR.  This exemption is absolute and therefore there is no requirement to apply the public interest test.

I hope this information is helpful. If you require anything further, please contact us at FOIA.Requests@wales.nhs.uk.

Under the terms of the Health Board’s Freedom of Information policy, individuals seeking access to recorded information held by the Health Board are entitled to request internal review of the handling of their requests. If you would like to complain about the Health Board’s handling of your request, please contact me directly at the address below or register your complaint via FOIA.Requests@wales.nhs.uk.

If after Internal Review you remain dissatisfied you are also entitled to refer the matter to the information commissioner at the Information Commissioner’s Office (Wales), 2nd Floor, Churchill House, Churchill Way, Cardiff, CF10 2HH. Telephone Number: 0330 414 6421.

Yours sincerely

Hazel Lloyd
Director of Corporate Governance