## Sheet1
Equipment No | Serial No | Brand | Model | Category | Site | Location | Installation Date | Capital Asset No
86852 | 61611168 | Boston Scientific | 3145 | Pacemaker Analyser | Morriston Hospital | Cath Lab | 2018-05-08
86851 | 61600159 | Boston Scientific | 3145 | Pacemaker Analyser | Morriston Hospital | Cath Lab | 2018-05-08
86853 | 61612369 | Boston Scientific | 3145 | Pacemaker Analyser | Morriston Hospital | Cath Lab | 2018-05-08
111631 | 22993 | St. Jude Medical | 3650 | Pacer programmer | Morriston Hospital | Cath Lab | 2022-06-07
76545 | 05882 | Therapy Equipment | 6041 Multi Stage Air Reg | Flow Regulator | Morriston Hospital | Cath Lab | 2014-12-01
81297 | 151130134175 | Welch Allyn | 767-10 | Aneroid Sphygmomanometer | Morriston Hospital | Cath Lab | 2017-01-30
81298 | 151201184265 | Welch Allyn | 767-10 | Aneroid Sphygmomanometer | Morriston Hospital | Cath Lab | 2017-01-30
20197M | 140182 | Cardiac Pathways | 8100/8300 | Arrhythmia Mapping | Morriston Hospital | Cath Lab | 1998-12-16
74514 | 5877185157880 | Seca | 877 | Electronic Scale Flat | Morriston Hospital | Cath Lab | 2015-09-22
67263 | 150353 | Therapy Equipment | 9505 | Oxygen Flowmeter | Morriston Hospital | Cath Lab | 2014-04-09
70624 | 165329 | Therapy Equipment | 9505 | Oxygen Flowmeter | Morriston Hospital | Cath Lab | 2015-01-28
70623 | 165316 | Therapy Equipment | 9505 | Oxygen Flowmeter | Morriston Hospital | Cath Lab | 2015-01-28
70622 | 165319 | Therapy Equipment | 9505 | Oxygen Flowmeter | Morriston Hospital | Cath Lab | 2015-01-28
74114 | 177386 | Therapy Equipment | 9505 | Oxygen Flowmeter | Morriston Hospital | Cath Lab | 2015-08-13
70627 | 022453 | Therapy Equipment | 9506/AG Air Single | Air Flowmeter | Morriston Hospital | Cath Lab | 2015-01-28
70630 | 022454 | Therapy Equipment | 9506/AG Air Single | Air Flowmeter | Morriston Hospital | Cath Lab | 2015-01-28
70629 | 022456 | Therapy Equipment | 9506/AG Air Single | Air Flowmeter | Morriston Hospital | Cath Lab | 2015-01-28
81725 | 028129 | Therapy Equipment | 9506/AG Air Single | Air Flowmeter | Morriston Hospital | Cath Lab | 2017-03-10
81728 | 028134 | Therapy Equipment | 9506/AG Air Single | Air Flowmeter | Morriston Hospital | Cath Lab | 2017-03-10
81730 | 028128 | Therapy Equipment | 9506/AG Air Single | Air Flowmeter | Morriston Hospital | Cath Lab | 2017-03-10
81721 | 028135 | Therapy Equipment | 9506/AG Air Single | Air Flowmeter | Morriston Hospital | Cath Lab | 2017-03-10
81729 | 028130 | Therapy Equipment | 9506/AG Air Single | Air Flowmeter | Morriston Hospital | Cath Lab | 2017-03-10
81717 | 211306/211307 | Therapy Equipment | 9555 O2 Twin | Oxygen Flowmeter | Morriston Hospital | Cath Lab | 2017-03-10
81718 | 211292/211293 | Therapy Equipment | 9555 O2 Twin | Oxygen Flowmeter | Morriston Hospital | Cath Lab | 2017-03-10
81720 | 211300/211301 | Therapy Equipment | 9555 O2 Twin | Oxygen Flowmeter | Morriston Hospital | Cath Lab | 2017-03-10
81716 | 211294/211295 | Therapy Equipment | 9555 O2 Twin | Oxygen Flowmeter | Morriston Hospital | Cath Lab | 2017-03-10
81713 | 211302/211303 | Therapy Equipment | 9555 O2 Twin | Oxygen Flowmeter | Morriston Hospital | Cath Lab | 2017-03-10
95389 | 180336WPO | GE Healthcare | 9L-RS | Ultrasound Probe | Morriston Hospital | Cath Lab | 2017-04-14
77644 | MTC160900 | Covidien | AEX Diathermy | Surgical Diathermy | Morriston Hospital | Cath Lab | 2016-06-17 | 001994
70636 | C10308C062 | Liebel-Flarsheim | Angiomat Illumena | DIGITAL INJECTION SYSTEM | Morriston Hospital | Cath Lab | 2008-07-02 | 004505
109024 | IC8541 | Abiomed | Automated Impellar Controller | Automated Impellar Controller | Morriston Hospital | Cath Lab | 2021-12-22 | 006451
108826 | IC8543 | Abiomed | Automated Impellar Controller | Automated Impellar Controller | Morriston Hospital | Cath Lab | 2021-12-22 | 006449
70207 | 23723 | Zoll Medical | Autopulse 100 | CPR machine | Morriston Hospital | Cath Lab | 2014-12-31
70208 | 140407115 | Zoll Medical | Autopulse Battery | Battery Charger | Morriston Hospital | Cath Lab | 2014-12-31
82359 | SNE17040229HA | GE Healthcare | Carescape B450 | Multiparameter Monitor | Morriston Hospital | Cath Lab | 2017-05-15
82358 | SNE17040226HA | GE Healthcare | Carescape B450 | Multiparameter Monitor | Morriston Hospital | Cath Lab | 2017-05-15
82356 | SNE17040003HA | GE Healthcare | Carescape B450 | Multiparameter Monitor | Morriston Hospital | Cath Lab | 2017-05-15
82357 | SNE17040041HA | GE Healthcare | Carescape B450 | Multiparameter Monitor | Morriston Hospital | Cath Lab | 2017-05-15
103587 | SNS20251035HA | GE Healthcare | Carescape B650 | Multiparameter Monitor | Morriston Hospital | Cath Lab | 2021-01-07
82355 | SK417061064HA | GE Healthcare | Carescape B650 | Multiparameter Monitor | Morriston Hospital | Cath Lab | 2017-05-15
82165 | SK417100010HA | GE Healthcare | Carescape B650 | Multiparameter Monitor | Morriston Hospital | Cath Lab | 2017-04-07 | 005026
82354 | SK417061051HA | GE Healthcare | Carescape B650 | Multiparameter Monitor | Morriston Hospital | Cath Lab | 2017-05-15
35201M | l4xj2063j | GE Healthcare | ComboLab IT | Cathlab Dual Monitoring System | Morriston Hospital | Cath Lab | 2005-07-28 | 004189
40347M | SBT07112029GA | GE Healthcare | ComboLab PC | Cathlab Computer 2026-192-002 | Morriston Hospital | Cath Lab | 2007-03-27
72219 | 100021970815 | Welch Allyn | Connex VSM 6800 | Vital Signs Monitor | Morriston Hospital | Cath Lab | 2015-03-25
81304 | 100024930915 | Welch Allyn | Connex VSM 6800 | Vital Signs Monitor | Morriston Hospital | Cath Lab | 2017-01-31
72237 | 100022400915 | Welch Allyn | Connex VSM 6800 | Vital Signs Monitor | Morriston Hospital | Cath Lab | 2015-03-25
81303 | 100024900915 | Welch Allyn | Connex VSM 6800 | Vital Signs Monitor | Morriston Hospital | Cath Lab | 2017-01-31
81302 | 100024850915 | Welch Allyn | Connex VSM 6800 | Vital Signs Monitor | Morriston Hospital | Cath Lab | 2017-01-31
116078 | STV23060108SA | GE Healthcare | CSCS V3 | Central Station | Morriston Hospital | Cath Lab | 2023-04-03 | 006537
C26883M | 548326-02 | Arjo Huntleigh | D900 | Doppler Unit | Morriston Hospital | Cath Lab | 2002-02-13
123252 | V250410044 | Therapy Equipment | Diamond 7701 | Suction Regulator | Morriston Hospital | Cath Lab | 2025-03-19
70618 | 079921 | Therapy Equipment | Diamond 7701 | Suction Regulator | Morriston Hospital | Cath Lab | 2015-01-28
70620 | 079917 | Therapy Equipment | Diamond 7701 | Suction Regulator | Morriston Hospital | Cath Lab | 2015-01-28
67079 | 069496 | Therapy Equipment | Diamond 7701 | Suction Regulator | Morriston Hospital | Cath Lab | 2014-04-09
81705 | 114055 | Therapy Equipment | Diamond 7701 | Suction Regulator | Morriston Hospital | Cath Lab | 2017-03-10
81710 | 114059 | Therapy Equipment | Diamond 7701 | Suction Regulator | Morriston Hospital | Cath Lab | 2017-03-10
81707 | 114056 | Therapy Equipment | Diamond 7701 | Suction Regulator | Morriston Hospital | Cath Lab | 2017-03-10
81703 | 114061 | Therapy Equipment | Diamond 7701 | Suction Regulator | Morriston Hospital | Cath Lab | 2017-03-10
93862 | 6396547 | GE Healthcare | E-CAiOV | Anaesthetic Gas Module | Morriston Hospital | Cath Lab | 2019-07-12
123513 | 2024-5-14 | Medtronic | EP Tracer 38 | Cardiac Monitor | Morriston Hospital | Cath Lab | 2025-04-15
91433 | SGV16050131HA | GE Healthcare | E-sCAiO | Anaesthetic Gas Module | Morriston Hospital | Cath Lab | 2019-01-13
82369 | SGV16521115HA | GE Healthcare | E-sCO | CO2 gas module | Morriston Hospital | Cath Lab | 2017-05-15
86352 | SGV17101021HA | GE Healthcare | E-sCO | CO2 gas module | Morriston Hospital | Cath Lab | 2018-04-16
82371 | SGV17011061HA | GE Healthcare | E-sCO | CO2 gas module | Morriston Hospital | Cath Lab | 2017-05-15
82372 | SGV17033008HA | GE Healthcare | E-sCO | CO2 gas module | Morriston Hospital | Cath Lab | 2017-05-15
82390 | ASKC-0047 | Draeger Medical | Fabius Tiro | Anaesthetic Machine | Morriston Hospital | Cath Lab | 2017-04-25 | 005063
110023 | T1L52746DX | Covidien | FT10 | Surgical Diathermy | Morriston Hospital | Cath Lab | 2022-03-16 | 006468
109626 | T1L52412DX | Covidien | FT10 | Surgical Diathermy | Morriston Hospital | Cath Lab | 2022-03-16 | 006463
38078M | 3240 | Boston Scientific | Galaxy 2 | IVUS System | Morriston Hospital | Cath Lab | 2006-06-15
82504 | 114894 | Therapy Equipment | GBUK7705 Hi Suc R/M | Suction Trolley | Morriston Hospital | Cath Lab | 2017-05-04
82503 | 114893 | Therapy Equipment | GBUK7705 Hi Suc R/M | Suction Trolley | Morriston Hospital | Cath Lab | 2017-05-04
82502 | 114895 | Therapy Equipment | GBUK7705 Hi Suc R/M | Suction Trolley | Morriston Hospital | Cath Lab | 2017-05-04
119827 | 20042818 | St. Jude Medical | H700495 | RF generator | Morriston Hospital | Cath Lab | 2024-05-22
D4345M | 6085 | Boston Scientific | iLab240 | Ultrasound Scanner - General | Morriston Hospital | Cath Lab | 2009-06-12
62780 | 10-01-008 | St. Jude Medical | Ilumien OCT System | Tomographer | Morriston Hospital | Cath Lab
77258 | 170016091 | Stille | Imagi Q2 | Operating Table | Morriston Hospital | Cath Lab | 2016-05-18 | 001988
106026 | 04Z1WV | SonoSite | L15-4 | Ultrasound Probe | Morriston Hospital | Cath Lab | 2021-05-10
106025 | 04ZZ5F | SonoSite | L19-5 | Ultrasound Probe | Morriston Hospital | Cath Lab | 2021-05-10
95388 | 224943YP1 | GE Healthcare | M5SC-RS | Ultrasound Probe | Morriston Hospital | Cath Lab | 2017-04-14
35586M | AA504481358GA | GE Healthcare | MacLab | Cardiac Computer System | Morriston Hospital | Cath Lab | 2005-07-28
94909 | 4214 | Boston Scientific | Micropace | Stimulator | Morriston Hospital | Cath Lab | 2019-10-14
96M | none | Miscellaneous | Miscellaneous | Miscellaneous - DO NOT DECOMMISSION !!! | Morriston Hospital | Cath Lab | 1990-01-01
82351 | SGJ17020029SA | GE Healthcare | MP100D | Central Station | Morriston Hospital | Cath Lab | 2017-05-15 | 005042
106689 | DE671T8918 | Philips | MX450 Intellivue Patient Monitor | Patient Monitoring System | Morriston Hospital | Cath Lab | 2021-07-19 | 006397
108008 | 320003091 | BD Medical | Nexus CC | Infusion Pump | Morriston Hospital | Cath Lab | 2021-10-16
108966 | 320003187 | BD Medical | Nexus CC | Infusion Pump | Morriston Hospital | Cath Lab | 2022-01-10
108579 | 410010216 | BD Medical | Nexus GP | Infusion Pump | Morriston Hospital | Cath Lab | 2021-12-01
110458 | 410009830 | BD Medical | Nexus GP | Infusion Pump | Morriston Hospital | Cath Lab | 2022-03-22
107611 | 410012721 | BD Medical | Nexus GP | Infusion Pump | Morriston Hospital | Cath Lab | 2021-09-27
109816 | 410010248 | BD Medical | Nexus GP | Infusion Pump | Morriston Hospital | Cath Lab | 2022-02-21
107605 | 410012532 | BD Medical | Nexus GP | Infusion Pump | Morriston Hospital | Cath Lab | 2021-09-27
122611 | N2442A071 | Medtronic | Nitron CryoConsole | Cardiac Cryosurgical System | Morriston Hospital | Cath Lab | 2025-01-24
116428 | 45937064 | Oxylitre | O2 Flowmeter - Direct | Oxygen Flowmeter | Morriston Hospital | Cath Lab | 2023-05-05
34087M | G6867 | Instrument Lab | OPL | Oxygention Portable Laboratory | Morriston Hospital | Cath Lab | 2005-02-17
123816 | 81Z482A | OpSens | OptoMonitor 3 | Haemodynamic Monitor | Morriston Hospital | Cath Lab | 2025-05-09
77922 | ASJF-0091 | Draeger Medical | Oxylog 3000 Plus | Transport Ventilator | Morriston Hospital | Cath Lab | 2016-07-11
76574 | ASHM-0057 | Draeger Medical | Oxylog 3000 Plus | Transport Ventilator | Morriston Hospital | Cath Lab | 2016-03-11 | 001938
95387 | 910L1124 | GE Healthcare | P2D | Ultrasound Probe | Morriston Hospital | Cath Lab | 2017-04-14
82353 | VNFVHDW0T7 | HP | P3015 | Laser Printer | Morriston Hospital | Cath Lab | 2017-05-15
106024 | 04ZZFL | SonoSite | P5-1 | Ultrasound Probe | Morriston Hospital | Cath Lab | 2021-05-10
118271 | SA317050087SA | GE Healthcare | PDM (SA3) | Patient Data Module | Morriston Hospital | Cath Lab | 2023-11-08
94044 | SA317020395SA | GE Healthcare | PDM (SA3) | Patient Data Module | Morriston Hospital | Cath Lab | 2019-07-28
82364 | SA317050012SA | GE Healthcare | PDM (SA3) | Patient Data Module | Morriston Hospital | Cath Lab | 2017-05-15
82365 | SA317050016SA | GE Healthcare | PDM (SA3) | Patient Data Module | Morriston Hospital | Cath Lab | 2017-05-15
82363 | SA317050006SA | GE Healthcare | PDM (SA3) | Patient Data Module | Morriston Hospital | Cath Lab | 2017-05-15
82362 | SA317050001SA | GE Healthcare | PDM (SA3) | Patient Data Module | Morriston Hospital | Cath Lab | 2017-05-15
101801 | SPX20170197SA | GE Healthcare | PDM (SPX) | Patient Data Module | Morriston Hospital | Cath Lab | 2020-11-05
101799 | SPX20170033SA | GE Healthcare | PDM (SPX) | Patient Data Module | Morriston Hospital | Cath Lab | 2020-11-05
102666 | SPX20221063SA | GE Healthcare | PDM (SPX) | Patient Data Module | Morriston Hospital | Cath Lab | 2020-12-12
102949 | SPX20280033SA | GE Healthcare | PDM (SPX) | Patient Data Module | Morriston Hospital | Cath Lab | 2019-02-26
38461M | TBC | Cook | Perfecta | Surgical Diathermy | Morriston Hospital | Cath Lab | 2006-07-28
82360 | S3S1622X04719 | GE Healthcare | Powercom SMK-600A | UPS | Morriston Hospital | Cath Lab | 2017-05-15
27453M | 020m0439089 | Critikon | Pro 400 | Monitor | Morriston Hospital | Cath Lab | 2002-03-19
106023 | 04ZCB7 | SonoSite | PX | Ultrasound Scanner - Portable | Morriston Hospital | Cath Lab | 2021-05-10 | 006280
94046 | AF19C094270 | Zoll Medical | R Series ALS (P) | Defib/Monitor + Pacer | Morriston Hospital | Cath Lab | 2019-07-25 | 006172
94037 | AF19C094249 | Zoll Medical | R Series ALS (P) | Defib/Monitor + Pacer | Morriston Hospital | Cath Lab | 2019-07-25 | 006163
94263 | 21AF19C094258 | Zoll Medical | R Series ALS (P) | Defib/Monitor + Pacer | Morriston Hospital | Cath Lab | 2019-07-25 | 006207
94325 | AF19C094255 | Zoll Medical | R Series ALS (P) | Defib/Monitor + Pacer | Morriston Hospital | Cath Lab | 2019-06-03
94345 | AF19C094262 | Zoll Medical | R Series ALS (P) | Defib/Monitor + Pacer | Morriston Hospital | Cath Lab | 2019-07-25 | 006216
94047 | AF19C094274 | Zoll Medical | R Series ALS (P) | Defib/Monitor + Pacer | Morriston Hospital | Cath Lab | 2019-07-25 | 006173
66389 | RC109098 | Boston Scientific | RC5000 | Rotablator | Morriston Hospital | Cath Lab | 2014-01-09
40963M | RC107024 | Boston Scientific | RC5000 | Rotablator | Morriston Hospital | Cath Lab | 2007-09-19
82318 | 61106608 | APC Cardiovascular | Reocor S | External Cardiac Pacemaker | Morriston Hospital | Cath Lab | 2017-04-19
82323 | 61106939 | APC Cardiovascular | Reocor S | External Cardiac Pacemaker | Morriston Hospital | Cath Lab | 2017-04-19
82321 | 61106911 | APC Cardiovascular | Reocor S | External Cardiac Pacemaker | Morriston Hospital | Cath Lab | 2017-04-19
82322 | 61106933 | APC Cardiovascular | Reocor S | External Cardiac Pacemaker | Morriston Hospital | Cath Lab | 2017-04-19
82319 | 61106952 | APC Cardiovascular | Reocor S | External Cardiac Pacemaker | Morriston Hospital | Cath Lab | 2017-04-19
82320 | 61106964 | APC Cardiovascular | Reocor S | External Cardiac Pacemaker | Morriston Hospital | Cath Lab | 2017-04-19
81612 | 61106957 | APC Cardiovascular | Reocor S | External Cardiac Pacemaker | Morriston Hospital | Cath Lab | 2017-02-28
81611 | 61106955 | APC Cardiovascular | Reocor S | External Cardiac Pacemaker | Morriston Hospital | Cath Lab | 2017-02-28
81609 | 61106953 | APC Cardiovascular | Reocor S | External Cardiac Pacemaker | Morriston Hospital | Cath Lab | 2017-02-28
81613 | 61106938 | APC Cardiovascular | Reocor S | External Cardiac Pacemaker | Morriston Hospital | Cath Lab | 2017-02-28
81610 | 61106935 | APC Cardiovascular | Reocor S | External Cardiac Pacemaker | Morriston Hospital | Cath Lab | 2017-02-28
123517 | RP005106 | Boston Scientific | Rotapro | Rotablator | Morriston Hospital | Cath Lab | 2025-04-15
106027 | 04Z867 | SonoSite | rP19xp/5-1 | Ultrasound Probe | Morriston Hospital | Cath Lab | 2021-05-10
120182 | C0224040063 | Insight Lifetech | Truevision & Vivoheart | Ultrasound Scanner - Vascular | Morriston Hospital | Cath Lab | 2024-06-24
124719 | E0225020002 | Insight Lifetech | Truevision & Vivoheart | Ultrasound Scanner - Vascular | Morriston Hospital | Cath Lab | 2025-07-23
82352 | DTQ4310395 | GE Healthcare | USE1913A | Flatscreen Monitor | Morriston Hospital | Cath Lab | 2017-05-15
114031 | H22030754 | Onyx | Venus | 24" LCD HD Monitor | Morriston Hospital | Cath Lab | 2022-11-09
82059 | 622482WX0 | GE Healthcare | Vivid IQ | Ultrasound Scanner - Cardiac | Morriston Hospital | Cath Lab | 2017-04-04 | 005012
102158 | 130304181266 | Welch Allyn | Wall Mounted and Mobile Sphyg | Aneroid Sphygmomanometer | Morriston Hospital | Cath Lab | 2020-11-17
96090 | Q57JKJ | SonoSite | X-Porte | Ultrasound Scanner - General | Morriston Hospital | Cath Lab | 2020-03-09 | 006262
63359 | 1247 | Radi Medical | Xpress | Pressure Wire Interface | Morriston Hospital | Cath Lab | 2012-12-14
121445 | 10512221110074 | Philips | Zenition 70 | C Arm | Morriston Hospital | Cath Lab | 2024-10-30